## Slide 1
Slide 1: Title Slide Automatic Water Pump Control System in Buildings
Presented by: Thon Pheakdey & Team
Institute of Technology of Cambodia (ITC)
Academic Year: 2024-2025

## Slide 2
Slide 2: Introduction
Importance of water distribution in modern buildings
Challenges of manual water pump systems
Objective: Design an automated water pump control system
Visuals: Background image of a modern building with a water system overlay

## Slide 3
Slide 3: Problem Statement
Inefficiencies in manual pump control
Risk of water overflow and shortages
High energy consumption and maintenance costs
Need for real-time water level monitoring
Visuals: Diagram showing manual vs. automatic pump system comparison

## Slide 4
Slide 4: Project Objectives
Develop an intelligent system for automatic water pump control
Integrate sensors and microcontrollers for real-time water level detection
Reduce human intervention and optimize water usage
Visuals: Infographic of the system components

## Slide 5
Slide 5: Scope of Work
Study of electrical and mechanical components
Design and implementation of an automated control system
Testing and evaluation of system efficiency
Visuals: Flowchart of the project workflow

## Slide 6
Slide 6: Literature Review
Selection of electrical cables for power transmission
Theory of Miniature Circuit Breakers (MCB)
Review of existing automatic water pump systems
Visuals: Image of an MCB and a labeled diagram of cable selection

## Slide 7
Slide 7: Methodology
Key Components:
  Water level sensors
  Microcontrollers (Arduino/PIC/ESP)
  Motor control relays
  Display and control interface
System workflow and operation
Visuals: Circuit diagram of the control system

## Slide 8
Slide 8: System Calculation & Design
Power calculation for motor operation
Electrical cable sizing
Circuit breaker selection
Flowchart of the control system
Visuals: Electrical wiring diagram and power calculation formula

## Slide 9
Slide 9: Results & Discussion
Performance evaluation of the system
Efficiency improvements in water management
Reduction in manual intervention and operational costs
Visuals: Comparison chart before and after automation