## Sheet1
N° | Plan | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Week 6 | Week 7 | Week 8 | Week 9 | Week 10
1 | Research | bar: Week 2
1
1
1
1
1
1
1
1
1
1

## DATA Cable
CONSTRUCTION DATA
POWER CABLES CONNECTION |  | TERMINAL BLOCK |  | FLAT BARS |  | DIRECT ON APPARATUS TERMINAL
BUSBAR INDATIFICATION
BUSBAR IDENTIFICATION | PHASE 1 | PHASE 2 | PHASE 3 | NEUTRAL | PE
COLOUR | RED | YELLOW | BLUE | BLACK | YELLOW-GREEN

## AT AGLANCE
Symbol | Function | Symbol | Function
| Indicator lights “Red”, “Yellow” and “Blue” turn on when power supply is available |  | Indicator lights “Red”, “Yellow” and “Blue” turn on when power supply is available
| • Indicator light “Green” turns on when Pump 1 is running. |  | • Indicator light “Green” turns on when Pump 1 is running.
| • Indicator light “Red” turns on when Pump 1 stops running. |  | • Indicator light “Red” turns on when Pump 1 stops running.
| • Indicator light “Yellow” turns on when a fault occurs on Pump 1 |  | • Indicator light “Yellow” turns on when a fault occurs on Pump 1
| • Indicator light “Green” turns on when Pump 2 is running. |  | • Indicator light “Green” turns on when Pump 2 is running.
| • Indicator light “Red” turns on when Pump 2 stops running. |  | • Indicator light “Red” turns on when Pump 2 stops running.
| • Indicator light “Yellow” turns on when a fault occurs on Pump 2 |  | • Indicator light “Yellow” turns on when a fault occurs on Pump 2
| Selectors switch to 3 positions. |  | Selectors switch to 3 positions.
| • Position “Au”: Pump 1 and Pump 2 are controlled automatically following conditions set by client. |  | • Position “Au”: Pump 1 and Pump 2 are controlled automatically following conditions set by client.
| • Position “M”: Pump 1 and Pump 2 are controlled manually and separately with selector switch 2 positions. |  | • Position “M”: Pump 1 and Pump 2 are controlled manually and separately with selector switch 2 positions.
| • Position “O”: Pump 1 and Pump 2 are forced to stop |  | • Position “O”: Pump 1 and Pump 2 are forced to stop
| • Button “Stop”: Stop Pump (Pump 1 or Pump 2) |  | • Button “Stop”: Stop Pump (Pump 1 or Pump 2)
| • Button “Stop”: Stop Pump (Pump 1 or Pump 2) |  | • Button “Stop”: Stop Pump (Pump 1 or Pump 2)
| SUCTION TANK |  | SUCTION TANK
| • Indicator light “Low Level” turns on when the water level in the tank reaches low level (Suction Tank) |  | • Indicator light “Low Level” turns on when the water level in the tank reaches low level (Suction Tank)
| ELEVATED TANK |  | ELEVATED TANK
| • Indicator light “High Level” turns on when the water level in the tank reaches full tank |  | • Indicator light “High Level” turns on when the water level in the tank reaches full tank
| ELEVATED TANK |  | ELEVATED TANK
| • Indicator light “Empty Level” turns on when the water level in the tank reaches low tank (Roof Tank) |  | • Indicator light “Empty Level” turns on when the water level in the tank reaches low tank (Roof Tank)
| • Indicator light “PMR” turns on when the loss phases, over-under voltage. |  | • Indicator light “PMR” turns on when the loss phases, over-under voltage.